IR Analog Intelligent Speed Dome

User’s Manual

Version 1.0.0

Table of Contents

1	Features and Functions	1

1.1	General Introduction	1

1.2	Features	1

1.2.1	On-Screen Menu	1

1.2.2	Proportional Pan and Tilt	1

1.2.3	On-screen Tips	1

1.2.4	Preset Setup and Call	1

1.2.5	Auto Scan	1

1.2.6	Auto Tour	1

1.2.7	Auto Pattern	1

1.2.8	Privacy Masking	2

1.2.9	Action on Alarm	2

1.2.10	Auto Flip	2

1.2.11	Self-diagnosis	2

1.2.12	Day/Night Mode (B/W & Color Mode)	2

1.2.13	Auto Focus	2

1.2.14	Backlight Compensation	2

1.2.15	Pan Tilt and Zoom	2

1.2.16	3D Intelligent Location	2

1.2.17	Idle Status	2

1.2.18	Power up	2

1.2.19	Image Stabilization/Flip	2

2	Protocol, Baud Rate, Address Setup	3

2.1	Protocol and Baud Rate Setup	3

2.2	Set address dial switch	4

3	Menu	5

3.1	Screen Menu Index	5

3.2	Self-diagnosis System Information	6

3.3	Main Menu	6

3.4	Menu Operation	7

3.4.1	System Information	7

3.4.2	Display Setting	8

3.4.3	Camera Setting	9

3.4.4	Function Setting	12

3.4.5	Alarm Setup	20

3.4.6	IR Light Setting	21

3.5	Dome Abnormal Phenomenon Operation	21

3.5.1	Restore to Factory Default Setup	21

3.5.2	PTZ Movement is not smooth	21

4	Cable Connection	22

4.1	System Layout	22

4.1.1	System Connection	22

4.1.2	Alarm Connection	23

4.1.3	Keyboard Connection	24

5	FAQ	25

5.1	Daily Maintenance	25

5.2	Problems and Solutions	25

6	Appendix Ⅰ Lightening Protection and Surge Protection	26

7	Appendix 2 Toxic or Hazardous Materials or Elements	27

Welcome

Thank you for purchasing our product!

This user’s manual is designed to be a reference tool for the operation of your system.

Here you can find information about this speed dome features and functions, as well as a detailed menu tree.

Please keep it well for future reference!

Before installation and operation, please read the following safeguards and warnings carefully!

Important Safeguards and Warnings

1．Electrical safety

- All installation and operation here should conform to your local electrical safety codes.

- The power shall conform to the requirement in the SELV (Safety Extra Low Voltage) and the Limited power source is rated 12V DC or 24V AC in the IEC60950-1.

- We assume no liability or responsibility for all the fires or electrical shock caused by improper handling or installation.

- We are not liable for any problems caused by unauthorized modification or attempted repair.

2．Transportation Security

- No heavy stress, violent vibration or water splash are allowed during transportation, storage and installation.

- Please use the original packing material (or the material of the same quality) when you ship it back to the manufacturer.

3．Installation

- Do not apply power to the product before completing installation.

- Please install the proper power cut-off device during the installation connection.

- Do not put object on the product.

4．Environment

- This series product should be installed in a cool, dry place away from direct sunlight, inflammable, explosive substances and etc.

- Please keep it away from the electromagnetic radiation object and environment.

- Please keep the sound ventilation.

- Do not allow the water and other liquid falling into the device.

- Please make sure the CCD (CMOS) component is out of the radiation of the laser beam device. Otherwise it may result in CCD (CMOS) optical component damage.

- Thunder-proof device is recommended to be adopted to better prevent thunder.

- The grounding holes of the product are recommended to be grounded to further enhance the reliability of the camera.

5.   Daily Maintenance

- Current series product has no power button. Please unplug all corresponding power cables before your begin installation or daily maintenance work.

- Please keep the dustproof cap back to protect the CCD or CMOS part if the device does not work for a long time.

- Do not touch CCD (CMOS) component. You can use the blower to clean the dust on the surface of the device. You can use the dry cloth with some alcohol or mild detergent to clear if necessary.

- Do not use the volatility solvent such as the benzene or thinner, or detergent with strong abradibility. It may result in lens damage or it may adversely affect the device performance.

- If there is too much dust, please use the water to dilute the mild detergent first and then use it to clean the device. Finally use the dry cloth to clean the device.

- 6.  About Accessories

Always use all the accessories recommended by manufacturer.

Before installation, please open the package and check that all the components are included in the package:

Contact you local retailer ASAP if something is missing in your package.

# Features and Functions

## General Introduction

The series IR analog intelligent speed dome is a product of general high level of integration and intelligence. This is a digital and intelligent product of vivid video. It can automatically enable IR light function under the low illumination environments and near/far IR light intelligent control function. The installation is convenient.

Comparing with the traditional products, this series IR analog intelligent speed dome has some new features. It supports 120M IR night vision. It supports various languages, real-time clock function and protocol auto recognition. It supports 360° continuously pan, 100°tilt and 180° auto flip. It can realize no blind spot monitor.

This series product can be widely used in remote monitor environment such as electric power, customs, and water conservancy.

## Features

This series speed dome has the following features:

### On-Screen Menu

This series product menu supports multiple languages.

It is easy for you to view dome information and configure dome, camera parameters.

### Proportional Pan and Tilt

This function keeps the image from moving too fast when there is a large amount of zoom.

This series speed dome continually decreases or increases pan and tilt speeds in proportion to depth of zoom. When zooms speed is increasing, the camera moving speed becomes slow. When zooms speed is decreasing, the camera moving speed becomes fast.

### On-screen Tips

Via menu, here you can view:

- Call preset and preset ID, speed dome title when calling touring.

- Dome system temperature. (Optional. You can disable this function)

- Software version. (Optional. You can disable this function)

- Dome address. (Optional. You can disable this function)

### Preset Setup and Call

Preset function is to save the address information (such as PTZ pan/tilt, focus and etc) to the memory so that you can quickly adjust the dome and PTZ to the correct position.

### Auto Scan

Camera scans back and forth regularly in a horizontal field. Here you need to set left and right limit and scan speed.

### Auto Tour

Add presets into a routine in a desired order and then set time and stop duration for each address. The dome will begin an auto touring between these presets.

### Auto Pattern

Memorize dome operation such as pan, tilt, and zoom to repeat. You can call it to repeat the previous operation.

### Privacy Masking

Privacy masking is a user-defined, four-sided area that can not be viewed by you. The masking area will move with pan and tilt functions and automatically adjust in size as the lens zooms.

### Action on Alarm

There are 7 alarm inputs (NO/NC) and 2 NO outputs via socket connector. Alarms can be individually programmed to initiate an associated operation when received.

### Auto Flip

As long as you continue to hold the keyboard joystick in the down position, the dome rotates 180 degrees and repositions itself for uninterrupted viewing of any subjects that passes directly beneath the dome.

### Self-diagnosis

There is a self diagnosis procedure when dome boots up.

- Tilt and vertical engine check

- Camera diagnosis: it mainly includes address, baud rate, parity and etc.

### Day/Night Mode (B/W & Color Mode)

There are several modes such as photosensor/auto/manual. This function needs the speed dome driver (camera) supported.

### Auto Focus

Support auto focus function.

### Backlight Compensation

Balance the brightest and darkest sections of a scene to produce a more vivid picture.

### Pan Tilt and Zoom

Supports zoom in and zoom out during tilt and pan movement.

In this period auto focus and auto iris can still get vivid image.

### 3D Intelligent Location

Support 3D intelligent positioning function, speed dome can auto track to the specified zone. .

### Idle Status

When there is no available order for specified period, the speed dome can implement previously set idle operation. The idle operation can be preset, scan, tour, pattern and etc. You can set the operation ID.

### Power up

The speed dome executes the power up operation after it rebooted and completed the initialization. The power up function includes auto, preset, scan, tour, pattern and none.

### Image Stabilization/Flip

You can enable image stabilization/flip in the menu. The stabilization function can guarantee the video stability when there is any vibration on the speed dome installation environment. The flip function allows you to view continuous video.

This function needs the speed dome driver (camera) supported.

# Protocol, Baud Rate, Address Setup

Before you operate, you need to set address, baud rate and parity. Otherwise you can not control the product!

## Protocol and Baud Rate Setup

Please configure the following settings before begin controlling dome:

- Baud rate

- Parity

- Address

Note: Please reboot the speed dome to get all the setups activated!

Open the dial switch cover on the bracket, the interface is shown as below. See Figure 2-1. You can see there are two dial switches on the PCB board.

The two dial switches can specify the speed dome parameter such as address, protocol, baud rate and etc. For the baud rate dial switch buttons: 1-3 is NC, 4 is the 120Ω resistance, ON is to connect to the 120Ω resistance. When the button is ON, it is 1. In dial switch buttons, 1 is the lowest bit and the 8 is the highest bit.

Figure 2-1

Please note this series speed dome can automatically recognize the industrial standard protocol, PELCO-D. PELCO-P. usually you do not need to set the protocol.

Please refer to the baud rate sheet for detailed information.

| 5 | 6 | PARITY |
| --- | --- | --- |
| OFF | OFF | NONE |
| ON | OFF | EVEN |
| OFF | ON | ODD |
| ON | ON | NONE |

Please refer to the parity setup sheet for detailed information.

| 7 | 8 | Baud Rate |
| --- | --- | --- |
| OFF | OFF | 9600bps |
| ON | OFF | 4800bps |
| OFF | ON | 2400bps |
| ON | ON | 1200bps |

## Set address dial switch

The encode mode adopts binary system. 1 to 8 is valid bit. The highest address bit is 255. You can refer to the following sheet for more information.

| Address | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | OFF | OFF | OFF | OFF | OFF | OFF | OFF | OFF |
| 1 | ON | OFF | OFF | OFF | OFF | OFF | OFF | OFF |
| 2 | OFF | ON | OFF | OFF | OFF | OFF | OFF | OFF |
| 3 | ON | ON | OFF | OFF | OFF | OFF | OFF | OFF |
| 4 | OFF | OFF | ON | OFF | OFF | OFF | OFF | OFF |
| 5 | ON | OFF | ON | OFF | OFF | OFF | OFF | OFF |
| 6 | OFF | ON | ON | OFF | OFF | OFF | OFF | OFF |
| 7 | ON | ON | ON | OFF | OFF | OFF | OFF | OFF |
| 8 | OFF | OFF | OFF | ON | OFF | OFF | OFF | OFF |
| …… | ………………………………………………………………… |
| 254 | OFF | ON | ON | ON | ON | ON | ON | ON |
| 255 | ON | ON | ON | ON | ON | ON | ON | ON |

# Menu

## Screen Menu Index

The above diagram illustrates the overall structure of the speed dome setup menu.

Note:

- ERR means current setup is invalid. Please restore factory default setup.

- Please make sure all the cable connections are right.

## Self-diagnosis System Information

After installation, please connect speed dome to power. The system goes on a self-diagnosis, and then it pops up the above interface to show the system information.

The above interface disappears after speed dome received the first command (or the display time lasts for 4 minutes.)

- ADDR: Here you can view dome address information. For example, 001-H, -H is the hardware address number, -S is software address mode.

- BR: Dome communication baud rate.

- PARITY: Communication parity bit format.

- VERSION: Dome software version.

When you are using the control keyboard or the matrix host to control the device, please make sure the control parameter of the keyboard or the matrix host is the same with the speed dome OSD (including address, baud rate, parity). Please make sure the cable connection is OK.

## Main Menu

You can open speed dome menu via control keyboard, matrix, or speed dome control terminal.

- SYSTEM  INFORMATION：Dome system information, address information, system time, set north direction, language, factory default setup, and restart and so on.

- DISPLAY SETTING: Display dome preset, azimuth display, time, direction, zoom, and dome internal temperature and etc information.

- CAMERA  SETTING：Display dome white balance setup, exposure setup, day/night setup, focus setup, zoom speed, aperture setup, aperture restrain, digital zoom, image flip, image freeze, image stabilization, factory default setup, camera restart and etc.

- FUNCTION SETTING: Set preset, auto pan, auto scan, auto tour, auto pattern, idle motion, time task, privacy mask and etc.

- ALARM SETTING：Set dome alarm number, action, contact, replay out, reset time and etc.

- IR LIGHT SETTING: Set dome IR sensitivity, control mode, medium and far light bright, far light bright, IR light compensation and etc.

- EXIT: Log out the system menu.

## Menu Operation

In the speed dome main menu, you can use the left/right button on the keyboard or in the speed dome terminal menu to configure the system menu. Before setup, please move the cursor to the current item you want to configure.

- In main menu, please click confirm button to go to the sub menu or use left/right key to configure setup.

- Use up/down button to select back option and then click confirm button to go back to the previous menu.

- Use up/down button to select exit option and then click confirm button to log out system menu.

- All setup here will not lose when encounter power failure.

### System Information

- INITIALIZATION INFORMATION: Move the cursor to INITIALIZATION INFORMATION and then click confirm button to go to the third submenu.

- ADDR INFORMATION: Move the cursor to SITE INFORMATION and then click confirm button to go to the third submenu.

- SYSTEM TIME SETTING: Move the cursor to SYSTEM TIME SETTING and then click confirm button to go to the third submenu.

- SET NORTH: Set dome benchmark direction so that you can know the angel between the benchmark and then current location. Please move the cursor to the option and then click confirm button until you see O.K. Now you have set north direction.

- LANGUAGE: The dome menu language. There are several languages for you to select.  Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- FACTORY DEFAULT: Restore dome factory default setup. Please move the cursor to the option and then click confirm button until you see O.K. Now you can see the IP dome begin rebooting to restore factory default setup.

- RESTART: Reboot the speed dome.

- BACK: Go back to the previous menu.

- EXIT: Log out system menu.

#### Initialization information

Move the cursor to INITIALIZATION INFORMATION and then click confirm button, you can see the above interface.

Here you can view dome basic information.

#### Address Information

Move the cursor to SITE INFORMATION and then click confirm button.

- ADDR TYPE: There are two options: soft and hard. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- ADDR-HARD:  It is an address you set in the dial switch. You can not modify it through software.

- ADDR-SOFT: You can set address via software. It is to say, you can use menu to modify dome address. The value ranges from 0 to 255.

- BACK: Go back to the previous menu.

- EXIT: Log out system menu.

#### System Time Setting

- Move the cursor to SYSTEM TIME SETING and then click confirm button, you can go to the third submenu. Please use the left/right button on the keyboard or in the speed dome terminal menu to set. After completed setup, please click confirm button to save current setup.  After you see speed dome menu displays OK, you can see the setup is valid now.

### Display Setting

Move the cursor to DISPLAY SETUP and then click confirm button, you can go to the third submenu. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.  After completed setup, please click save button to save current setup.

- PRESET: Display dome preset title or not. Please use the left/right button on the keyboard or in the speed dome terminal menu to set. You can go to Function Setup->Preset section to set corresponding preset value and preset title.

- AZIMUTH DISP: Display dome current coordinates or not. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- TIME DISP: Display dome system time or not. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- POSITION: Display the angel between the benchmark and then current location. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- ZOOM DISP: Display speed dome zoom speed value or not. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- INSIDE TEMPERATURE: Display dome internal temperature or not. There are three options: ℃/F/Off. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- TITLE DISPLAY: Here you can set to display speed dome position information and etc. You can use the speed dome control terminal to set the detailed title information. Please use the left/right button to set.

- BACK: Go back to the previous menu.

- EXIT: Log out system menu.

### Camera Setting

Move the cursor to CAMERA SETTING and then click confirm button, you can go to the submenu.

- WHITE BALANCE SETUP: It is to set camera white balance mode. Move the cursor to current option and then click confirm button, you can go to the third menu.

- EXPOSURE SETTING: It is to set camera exposure mode, gain and etc. Move the cursor to current option and then click confirm button, you can go to the third menu.

- DAY/NIGHT: Set day/night mode. Move the cursor to current option and then click confirm button, you can go to the third menu.

- FOCUS SETUP: It is to set the camera focus mode, focus limit and etc. Please move the light to highlight current item and then click the OK button to go to the next level menu.

- ZOOM SPEED: The bigger the value, the faster the speed. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- APERTURE: It is to adjust the lens to achieve clear video. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- APERTURE RESTRAIN: System can auto reduce the aperture to lower the video noise when it is in low illumination environment. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- NEXT PAGE: It includes the following options: DIGITAL ZOOM, DIGITAL ZOOM LIMIT, PICTURE FLIP, FREEZE FUNCTION, OUTPUT MODE, CAMERA FACTORY DEFAULT SETUP, and CAMERA RESTART. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- DIGITAL ZOOM: You can use the left/right button to enable/disable the digital zoom function.

- DZOOM LIMIT: Here you can set the threshold of the digital zoom. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- PICTURE FLIP: There are two options: on/off. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- FREEZE FUNCTION: This function allows the system from one preset to another preset, without showing the video during the PTZ movement. There are two options: on/off. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- IMAGE STABILIZATION: This function can guarantee video stability once there is any vibration  on the speed dome installation environments .

- CAMERA FACTORY DEFAULT: Move the cursor to current item and then click confirm button to restore factory default setup.

- CAMERE RESTART: Move the cursor to current item and then click confirm button to reboot the camera.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### White Balance Setup

Move the cursor to WHITE BALANCE MODE and then click confirm button, you can go to the submenu.

- WHITE BALANCE MODE: Set white balance adjustment mode. There are two modes: auto/manual. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- R GAIN: Before you set R GAIN option, please note the mode is manual. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- B GAIN: Before you set B GAIN option, please note the mode is manual. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Exposure Setting

- AE MODE: Here you can set the camera exposure mode. It includes: auto/manual/AV (iris priority)/TV (shutter priority). Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

  - Auto: It is for you to set the exposure compensation, backlight compensation (BLC), slow shutter, wide dynamic region (WDR).

  - Manual: It is for you to set the gain setting, shutter, iris setting, wide dynamic region (WDR).

  - Iris Priority (AV): It is for you to set the exposure setting, iris setting, wide dynamic region (WDR).

  - Shutter Priority (TV): It is for you to set the shutter setting, exposure compensation, wide dynamic region (WDR).

- GAIN SETTING: It is to set camera gain. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- SHUTTER: It is to set camera shutter. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- IRIS SETTING: It is to set camera iris. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- EXPOSURE COM: It is to set camera exposure compensation. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- SLOW AE: In the strong light environment, you can lower the camera exposure speed to capture the image and enhance the definition. The larger the value, the faster the speed. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- SLOW SHUTTER: In lower illumination environment, you can lower the cameras auto exposure time to capture the image and enhance the definition. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- NEXT PAGE: It includes: AGC GAIN LIMIT, SLOW SHUTTER LIMIT, NOISE REDUCTION, 3D NOISE REDUCTION, BLC, WDR, BACK, and EXIT. Move the cursor to the item and then click the left/right button to set.

  - AGC GAIN LIMIT: It is to set auto gain high limit. Please click the left/right button to set.

  - SLOW SHUTTER LOW LIMIT: It is to set slow shutter low limit. Please click the left/right button to set.

  - NOISE REDUCTION: There may noise when the camera is monitoring the low illumination environments. You can use the digital filter to process the noise to guarantee the clear video.

  - 3D NOISE REDUCTION: It is to set the speed dome 3D noise reduction setup. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

  - BLC: It is an abbreviation for back light compensation. System can compensate the object in the dark light to achieve a clear video. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

  - WDR: It is an abbreviation for wide dynamic region.  Please make sure your camera supports current function. This function can adjust the video brightness when the contrast between the strong light and the dark light is too high.  Move the cursor to current item and then click the OK button to go to the fourth level menu. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

  - AE RECOVERY: Manually click the “+” and “-“button on the PTZ interface, system cam resume previous exposure value after specified time (The exposure value does not resume if this function is off.).

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Day/Night Setting

Move the cursor to DAY/NIGHT SETTING and then click confirm button, you can go to the submenu.

- DAY/NIGHT: It is to set camera day/night switch mode. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- DAY TIME: Current setup becomes valid when day/night mode is Time. Move the cursor to DAY TIME item and then click confirm button to go to setup. Please user up/down button to set the value. After completed setup, please click confirm button to exit and move the cursor to Save button to save current setup.

- NIGHT TIME: Current setup becomes valid when day/night mode is Time. Move the cursor to DAY TIME item and then click confirm button to go to setup. Please user up/down button to set the value. After completed setup, please click confirm button to exit and move the cursor to save button to save current setup.

- THRESHOLD: The speed dome can switch the day/night mode when it reached the threshold you set here.

- SAVE: This button is for DAY TIME and NIGHT TIME setup. After you set the day time (or night time), you need to move the cursor here and then click confirm button to save current time setup. For other setups, you do not need to use this button.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Focus Setup

- FOCUS MODE: It is to set the camera focus mode. It includes several modes such as auto, manual, semiautomatic. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- FOCUS LIMIT: It is to set the camera focus limit. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- AF SENSITIVITY: It is to set the camera focus sensitivity. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- IR CORRECTION: It is to set the camera IR light focus correction. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

### Function Setting

Please go back to main menu and move the cursor to FUNCTION SETTING, click confirm button. You can see the above interface.

- PRESET: It is to set preset. Move the cursor to PRESET and then click confirm button to go to the third submenu.

- AUTO PAN: It is to set pan. Move the cursor to AUTO PAN and then click confirm button to go to the third submenu.

- AUTO SCAN: It is to set scan number, speed and etc. Move the cursor to AUTO SCAN and then click confirm button to go to the third submenu.

- AUTO TOUR: It is to set tour number, tour operation and etc. Move the cursor to AUTO TOUR and then click confirm button to go to the third submenu.

- AUTO PATTERN: It is to set pattern number and etc. Move the cursor to AUTO PATTERN and then click confirm button to go to the third submenu.

- IDLE MOTION: It is to set idle operation, idle time and etc. Move the cursor to IDLE MOTION and then click confirm button to go to the third submenu.

- TIME TASK: It is to set system schedule operation. Move the cursor to TIME TASK and then click confirm button to go to the third submenu.

- NEXT PAGE: It includes: PRIVACY MASK, PTZ SPEED, SET ZERO, POWER UP and etc.  Move the cursor to the item and then click the confirm button to set.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Preset Setup

Move the cursor to PRESET button and then click confirm button to go to set interface.

- PRESET NO: Please use left/right key to modify preset number. The different protocols support different preset values.

- TITLE：Title text is the label used for you to identify the camera. System will automatically name a title for the camera.

- SETTING: Please input preset number first and then select the monitor zone. Please move the cursor to setting and click confirm button. The system will pop up a message: PRESET: ***. Here *** means preset number. And the SETTING column pops up an OK. Now you successfully added a preset. Please note, you need to enable display preset title function first (Main menu->display setting->preset title).Repeat the above procedures to set more presets. Once you want to modify a preset, you can input the preset number you want to modify and then follow the above steps to set the preset. You can successfully modify a preset content.

- CALL: Here is to call preset. Move the cursor to PRESET NO and then input corresponding preset value. Then move the cursor to CALL and then click confirm button to go to a preset.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

For PELCO protocol user, please refer to the following special functions:

- Call preset: Call preset 28 or preset 95 to go to dome menu. Call preset 29 or preset 99 to go to scan. Call preset 24 or preset 81 to go to pattern. Call preset 25 or preset 82 to go to tour. Call preset 30 or preset 96 to stop scan or pattern. Call preset 31 or preset 83 to begin rotation. Call preset 33 to enable PTZ 180 degrees rotation. Call preset 34 to set dome position as 0.

- Set preset: Set preset 26 or 92 to set scan left limit. Set preset 27 or 93 to set scan right limit. Set preset 22 or 79 to begin record. Set preset 23 or 80 to stop record.

#### Pan

Move the cursor to PAN button and then click confirm button to go to setup interface.

- PAN SPEED: Set dome rotation speed. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- CALL: Move the cursor to CALL item and then click confirm button. The dome begins 360 degrees continuous rotation.

- STOP: Highlight stop item and then click confirm button. The dome stops rotation.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Auto Scan

Move the cursor to SCAN button and then click confirm button.

- AUTO SCAN NO：Here is to set auto scan number. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- SET LEFT LIMIT：Here is to set camera left address. Click confirm button to save current setup.

- SET RIGHT LIMIT：Here is to set camera right address. Click confirm button to save current setup.

- SCAN SPEED: Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- CALL: Please input auto scan number first, and then please move the cursor to CALL and click confirm button to activate auto scan function.

- STOP: Here is to terminate auto scan function.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Auto Tour

Move the cursor to highlight TOUR item and then click confirm button to go to setup interface.

- TOUR NO ：Here is to ser tour number. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- TOUR SETTING: Move the cursor to TOUR setting item and then click confirm button. You can see the following interface. Here you can add or remove the preset, and set the corresponding dwell time and call speed.

  - DWELL: Here is t set dwell time. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

  - SPEED: Here you can set the speed value.

When you move the cursor to one tour number, you can use left/right button to turn the page.

When you move the cursor to one tour number, please click confirm button to set the tour. Please use up/down button to set preset number, dwell time and speed. Use the left/right button to go to the next tour. Click confirm button you can exit the setup. After you completed the setup, move the cursor to back button to go to the previous interface.

- DELETE TOUR：Here is to delete a tour. Input tour number in TOUR NO and then move the cursor to DELETE TOUR, click confirm button to delete.

- CALL: Here is to activate tour. Input tour number in tour NO and highlight CALL, click confirm button to activate tour.

- STOP: Here is to terminate touring.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Auto Pattern

Pattern function can memory PTZ operation and camera focus zoom in and zoom out.

From the start position, dome begins auto movement repeatedly.

This series IP dome supports maximum 5 patterns and one pattern can max support 400 commands.

Move the cursor to PATTERN and click confirm button.

- PATTERN NO： Here is to set pattern number. Please click left/right key to configure.

- PROGRAM START: Here is to memorize pattern starting point. An icon OK pops up in screen to prompt you system begins memory pattern.

- PROGRAM STOP：Here is to set pattern stop point.  After all the movement, move the cursor to PROGRAM STOP and then click confirm button. Now you have set one pattern. System pops up an icon OK to prompt you system has memories one pattern.

- CALL：Here is to activate pattern. Input pattern number, move the cursor to CALL and click confirm button, system begins running pattern.

- STOP: Here is to stop current pattern. Input pattern number, move the cursor to STOP and click confirm button. System stops current pattern.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

Note:

- The dwell time between two orders should be less than one minute, otherwise system will set to default value as one minute.

- After click PROGRAM STOP, do not click CALL button before icon “●” disappears completely.

- Any manual operation during the pattern procedure will terminate current dome pattern operation.

#### Idle Motion

When there is no available command for specified time, dome automatically goes on the previous set functions.

- IDLE MOTION：There are two modes ON/OFF. Please use left/right key to set.

- IDLE TIME: System idle period. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- IDLE  MOTION：There are several functions you can select: NONE/PRESET/SCAN/TOUR/PATTERN. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- PARAMETER: It is to set idle motion SN. System can implement the corresponding action when it is idle for the specified period. Click the left/right button to set.

- SAVE：Move the cursor to SAVE and click confirm button to save current setup.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

#### Time Task (Schedule task)

- TASK NO: Here you can set task number. Please use the left’/right button to set.

- TIME TASK: The schedule task allows the speed dome to implement corresponding setup during the specified time. There are two options: on/off. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- TASK SETTING: Here you can set task time, operation, operation SN and etc. Please click the confirm button to go to the fourth menu to set.

- TASK INFORMATION: Here you can view the corresponding task information. Please click the confirm button to go to the fourth menu to set.

- DELETE TASK: Please input the task number to be deleted in the TASK NO, and then move the cursor to the current item. Click the confirm button, you can remove all the setups in the current schedule task. Now current task is null.

- BACK: Go back to the previous menu.

- EXIT: Log out the system menu.

Task Setting

Move the cursor to the TASK SETTING and then click the confirm button, you can set the task begin time, end time, action and etc.

- WEEK: Here you can set the week information. Please use the left/right button to set. You can set for one day, or you can set for the whole week.

- START TIME: Here you can set the task begin time. Move the cursor to current item and then click confirm button to set the time. Please use the up/down button to set the detailed value and then use left/right button to go to the next setup item. After you completed the setup, please click confirm button to exit start time setup and then move the cursor to the SAVE button to save current setup.

- END TIME: Here you can set the task end time. Move the cursor to current item and then click confirm button to set the time. Please use the up/down button to set the detail value and then use left/right button to go to the next setup item. After you completed the setup, please click confirm button to exit end time setup and then move the cursor to the SAVE button to save current setup.

- TASK ACTION: The option here includes: none/tour/scan/preset/patter and etc. Please use left/right button to set.

- OPERATION NO: It is the corresponding serial number of the schedule task.  The number here may vary due to different action types.

- BACK: Go back to the previous menu.

- EXIT: Log out the system menu.

Task Information

Move the cursor to the TASK INFORMATION and then click the confirm button to go to the following interface. Here you can see the corresponding task information. Click the confirm button again, you can exit current interface.

NEXT PAGE

Move the cursor to the NEXT PAGE and then click OK button, you can go to the third-menu to set speed dome PTZ speed, initialization position, power up operation and etc.

- PRIVACY MASK: Here you can set the privacy mask number and etc. It includes the third menu. Please move the cursor to the current item and then click the confirm button to go to the next interface.

- PTZ SPEED: It is to set PTZ speed. Please use the left/right button to set.

- SET ZERO: Please move the PTZ to the horizontal coordinates, click OK button to confirm.

- POWER UP: It is to set the PTZ action when the speed dome boots up. Click the confirm button to go to the next interface to set.

- MENU PASSWORD: It is to set menu password. Move the cursor to MENU PASSWORD and then click confirm button to go to the next submenu to set.

- MENU IDLE: If current setup is ON, once you open the menu and leave it idle for specified period, the menu may automatically disappear.  If current setup is OFF, the menu is always there and will not disappear. Please use the left/right button to set.

- PTZ AUTO STOP: The speed dome will stop all the PTZ operations when there is no command for the specified time. It includes various setups. Please use the left/right button to set.

- NEXT PAGE: It includes heater setting, self-diagnosis and etc.

- HEATER SETTING: It is to set heater. Move the cursor to the item and then click the confirm button to set.

- SELF-DIAGNOSIS: It is to set system self-diagnosis correction. Please use the left/right button on the keyboard or in the speed dome terminal menu to set on/off. Please note you need to restart speed dome to activate current setup.

Privacy Mask

Move the cursor to PRIVACY MASK and click confirm button, system goes to privacy mask setup interface.

Note:

- For security reasons, please set privacy zone a little bit larger than the privacy object size.

- Each time, after modifications you need to move the cursor to SAVE button and then click confirm button to get all setup activated. Otherwise, privacy zone may not move correspondingly with the object.

Please enter privacy mask menu. Move the cursor to PRIVACY NO, please use left/right key to set different privacy zones. For example, shift to 1 section and then move the cursor to PRIVACY MASKING.

Secondly, click OK button to go to the setup interface. Now there is a privacy zone in the screen centre.  Operate PTZ to move the camera screen so that the centre of the object you want to shield is overlaying with the centre of the screen.

Thirdly, move the cursor to RESIZE and then click left and right key to adjust privacy zone direction and size. Move the cursor to SAVE and then click confirm button to exit. Please note you need to click SAVE button to save current privacy mask setup so that the privacy mask region can move along with the PTZ movement to always cover the object you want to shield.

- PRIVACY NO：Here is to set privacy mask zone. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.  You can call corresponding privacy mask zone number if you have successfully set one. System supports 1-24 privacy mask zones. Please note the privacy mask amount may vary due to different product series.

- PRIVACY MASKING: There are two settings: on and off. This function is only valid after you set a privacy mask zone.

- SETTING: It includes the fourth-menu. You can set privacy mask zone size and save.

- RESIZE：It is to adjust the privacy zone size. Move the cursor to current item and use the left/right button on the keyboard or in the speed dome terminal menu to set .Please continue pressing direction button to widen or narrow zone size. ← is to narrow the horizontal width and → is to widen the horizontal width. ↑ is to widen vertical height and ↓ is to narrow the vertical height.

- SAVE：Here is to save user setup.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

Power Up

Move the cursor to the POWER UP item and then click the confirm button, you can go to the fourth menu.

- POWER UP: It is to set the PTZ operation when the speed dome boots up. The option includes: NONE/AUTO/SCAN/PRESET/PATTERN/TOUR and etc. Please use the left/right button to set.

- PARAMTER:  Here you can set the serial number of the corresponding operation such as the scan, preset, pattern, tour. Please use the left/right button to set.

- BACK: Go back to the previous menu.

- EXIT: Log out the system menu.

Menu Password

Move the cursor to the MENU PASSWORD and the click the confirm button to go to the fourth menu.

- PASSWORD: Enable this function here so that you set password is valid. This function is on by default after you set password.

- SETTING: Click the confirm button to go to the password setup interface. Please use the left/right button to set the value and then click the confirm button to confirm current option. Move the cursor to the SAVE button and then click the confirm button to save current setup. Click the BACK button to go to the previous menu.

- BACK: Go back to the previous menu.

- EXIT: Log out the system menu.

If you have forgot your password. After three times of login failure, system may pop up an 8-digit internal code. Please contact our technical engineer for help.

Heater Control

Move the cursor to highlight HEATER CONTROL button and then click confirm button. You can go to the 4th menu.

- HEATER CONTROL: It is to set temperature control mode. It includes three modes: auto/normal open/normal close. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- OPEN TEMPERATUREP: This function is on when the heater control mode is auto. It is for you to set temperature to enable the heater.

- CLOSE TEMPERATURE: This function is on when the heater control mode is auto. It is for you to set temperature to disable the heater.

- BACK: Go back to the previous menu.

- EXIT: Log out the system menu.

### Alarm Setup

Move the cursor to highlight ALARM SETTING button and then click confirm button.

- ALARM NO: Here is to set alarm input. Alarm input value ranges from 1 to 7. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- ACTION: Action on alarm function. It includes NONE/PRESET/AUTO SCAN/TOUR functions. Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- PARAMETER: it is to set corresponding alarm operation such as scan/preset/tour. Please use the left/right button to set.

- CONTACT：You can set system activation operation once alarm occurred. There are two alarm signal mode: normal open (N/O) and normal closed (N/C). Please use the left/right button on the keyboard or in the speed dome terminal menu to set.

- RELAY OUT: Here is to set relay alarm mode and reset time. There are several options: off/1→5S/2→5S/1&2→5S.

- 1→5S：1 means the first relay output.5S means the relay will reset automatically in five seconds after alarm occurs.

- 1&2→5S：1&2 means the first relay and the second relay work at the same time.

- RESET DELAY: Here is for you to set alarm reset time. Please use the left/right button on the keyboard or in the speed dome terminal menu to set: 3 seconds/10 seconds/30 seconds/60 seconds /120seconds. The dome will go back to previous setup after alarm acknowledgement.

- SAVE：Move the cursor to SAVE and then click confirm button to save current setup.

- BACK: Go back to previous menu.

- EXIT: Log out system menu.

### IR Light Setting

Move the cursor to highlight IR LIGHT SETTING button and then click confirm button.

- IR SENSITIVITY: Here you can enable the IR light sensitivity function.

- IR LIGHT CTRL: There are three options: Zoom rate has the higher priority and manual. Please use the left/right button to set.

- NEAR LIGHT: It is the medium and near light brightness. This function is valid in MANUAL mode.

- FAR LIGHT: It is the far light brightness. This function is valid in MANUAL mode.

- IR LIGHT COMPENSATION: It is the whole compensation level of the IR light. This function is valid when the zoom rate has the higher priority.

- BACK: Go back to the previous menu.

- EXIT: Log out the system menu.

## Dome Abnormal Phenomenon Operation

### Restore to Factory Default Setup

From main menu-> SYSTEM INFORMATION, move cursor to FACTORY DEFAULT and click confirm button. Dome will reboot and all the setups restore to factory default setup.

### PTZ Movement is not smooth

From menu to SYSTEM INFORMATION, move cursor to RESTART and click confirm button. This reboot will not modify all activated setup (such as preset, tour and pattern)

# Cable Connection

The speed dome combination cable includes video cable connection port, RS485 connection port, alarm input and output port.  Please refer to the label for detailed information.

- Slight difference may be found in the port amount since some functions are optional.

| Name | Function |
| --- | --- |
| 485 | A | 485-A. It is to control dome built-in PTZ. |
|  | B | 485-B. It is to control dome built-in PTZ. |
| VIDEO | GND | Ground. |
|  | OUT | Video output port. |
| AC24V | 24V power port. Connect to the power cable. |
| EARTH | Ground port. |

Relay in/out interfaces is shown below:

| Name | Function |
| --- | --- |
| Alarm out：1-2 | Two alarm output channels. When there is an alarm from current channel, system activates relay or not. Alarm output relay default setup is NO. You can use the jump-cap near the power board relay to set. NO：Normal open alarm output. NC：Normal close alarm output. |
| Alarm out_com：1-2 | Alarm input ground end. |
| Alarm in：1-7 | Seven alarm input channels. It is to receive relay signal from the external alarm source. You can go to dome menu to activate specified preset or scan. When the activation mode is NO (normal open), dome alarms when there is low voltage. High voltage will not activate the alarm. When the activation mode is NC (normal close), dome alarms when there is high voltage. Low voltage will not activate the alarm. Note: Dome alarm input message is ground mode. Dome alarm input signal are two modes: normal open and normal close. |
| GND | Alarm input ground end. |

## System Layout

### System Connection

#### BUS connection

Please refer to Figure 4-1  for system connection information.

Figure 4-1

Note:

Please use shielded twisted pair. The shielded layer shall connect to GND firmly; otherwise it may affect communication or video work.

#### Star Connection

Please refer to Figure 4-2 for alarm connection information.

Figure 4-2

### Alarm Connection

Please refer to Figure 4-3 for alarm connection information.

Figure 4-3

### Keyboard Connection

This series dome supports keyboard operation. You can use keyboard to control the dome and PTZ. The display and control can work simultaneously. One keyboard can control maximum 255 speed domes. Please refer to Figure 4-4.

Figure 4-4

Speed dome protocol is open and supports multiple popular system platforms in today’s market. Please contact us freely if some matrix systems do not support dome camera communication protocol. The most direct and easy way is to use current system to process video signal and add some control keyboards to control speed dome. See Figure 4-5.

Figure 4-5

# FAQ

## Daily Maintenance

Please clean dome cover regularly to get vivid image.

Handle the cover with care. Use water to wash.  Don’t use cloth to clean.

Use mild detergent to clean if there is too much dust.

Note:

The sweat from your hand may erode plating surface, your nail may scrape dome cover result in blur image.

## Problems and Solutions

| SYMPTOM | CAUSE | SOLUTION |
| --- | --- | --- |
| 1) No self-diagnosis, no video signal when I connect dome to power. | Red LED is not on. Your power supplying does not apply to the power. Or connection is too loose. Power off or transformer problem. | Check 24V AC power is connected or properly earthed. Check 24V AC power supply condition or check transformer. |
|  | Red LED light on the power board is on 24V AC power supplying is low Something wrong with power board. | Use multimeter to check dome load is below 24V AC or not. Please contact retailer to replace power board. |
| 2) No self diagnosis. There is a noise | Power supplying is inadequate. | Replace power supplying. |
|  | Mechanical malfunction. | Need electrical engineer help. |
| 3) Video signal loss occurs in high speed rotation. | Power supplying is not sufficient | Replace power supplying. |
| 4)Video signal is not successive | Circuit connection is too loose. | Connect tightly. |
|  | Video switch or power problem | Need electrical engineer help. |
| 5) Video is not clear. | Focus is in manual mode. | Control manually. |
|  | Dome cover is dirty. | Wash dome cover |
| 6) During camera switch, there is a tilt movement in the monitor. | Camera power is not in the same Phase. | When several domes are connected to one transformer, please connect the transformer output cable to the domes’ same side. |

# Appendix Ⅰ Lightening Protection and Surge Protection

This series speed dome adopts TVS lighting protection technology. It can effectively prevent damages from various pulse signals below 4000V, such as sudden lighting and surge. While maintaining your local electrical safety code, you still need to take necessary precaution measures when installing the speed dome in the outdoor environment.

- The distance between the signal transmission cable and high-voltage device (or high-voltage cable) shall be at least 50 meters.

- Outdoor cable layout shall go under the penthouse if possible.

- For vast land, please use sealing steel tube under the land to implement cable layout and connects one point to the earth. Open floor cable layout is forbidden.

- In area of strong thunderstorm hit or near high sensitive voltage (such as near high-voltage transformer substation), you need to install additional high-power thunder protection device or lightning rod.

- The thunder protection and earth of the outdoor device and cable shall be considered in the building whole thunder protection and conform to your local national or industry standard.

- System shall adopt equal-potential wiring. The earth device shall meet anti-jamming and at the same time conforms to your local electrical safety code. The earth device shall not short circuit to N (neutral) line of high voltage power grid or mixed with other wires. When connect the system to the earth alone, the earth resistance shall not be more than 4Ω and earth cable cross-sectional area shall below 25 mm2. See Figure 6-1.

Figure 6-1

# Appendix 2 Toxic or Hazardous Materials or Elements

| Component Name | Toxic or Hazardous Materials or Elements |
| --- | --- |
|  | Pb | Hg | Cd | Cr VI | PBB | PBDE |
| Sheet Metal | ○ | ○ | ○ | ○ | ○ | ○ |
| Plastic Parts | ○ | ○ | ○ | ○ | ○ | ○ |
| PCB | ○ | ○ | ○ | ○ | ○ | ○ |
| Housing | ○ | ○ | ○ | ○ | ○ | ○ |
| Camera Driver | ○ | ○ | ○ | ○ | ○ | ○ |
| Bearing | ○ | ○ | ○ | ○ | ○ | ○ |
| Connection Cable | ○ | ○ | ○ | ○ | ○ | ○ |
| Motor (If possible) | ○ | ○ | ○ | ○ | ○ | ○ |
| Power (If possible) | ○ | ○ | ○ | ○ | ○ | ○ |
| Bracket (If possible) | ○ | ○ | ○ | ○ | ○ | ○ |
| Accessories | ○ | ○ | ○ | ○ | ○ | ○ |

Note

O: Indicates that the concentration of the hazardous substance in all homogeneous materials in the parts is below the relevant threshold of the SJ/T11363-2006 standard.

X: Indicates that the concentration of the hazardous substance of at least one of all homogeneous materials in the parts is above the relevant threshold of the SJ/T11363-2006 standard. During the environmental-friendly use period (EFUP) period, the toxic or hazardous substance or elements contained in products will not leak or mutate so that the use of these (substances or elements) will not result in any severe environmental pollution, any bodily injury or damage to any assets.  The consumer is not authorized to process such kind of substances or elements, please return to the corresponding local authorities to process according to your local government statutes.

Note

- This manual is for reference only. Slight difference may be found in the user interface.

- All the designs and software here are subject to change without prior written notice.

- All trademarks and registered trademarks mentioned are the properties of their respective 
owners.

- If there is any uncertainty or controversy, please refer to the final explanation of us.

- Please visit our website or contact your local service engineer for more information.

# Text boxes

INITIALIZATION INFORMATION

ADDR INFORMATION

SYSTEM TIME SETTING

SET NORTH

LANGUAGE                   : English

FACTORY DEFAULT

RESTART

BACK          EXIT

SYSTEM

SETTING

PRESET                     : ON

AZIMUTH DISP          : ON

TIME DISP                 : OFF

POSITION                  : OFF

ZOOM DISP               : OFF

INSIDE TEMP             : OFF

TITILE DISPLAY

BACK           EXIT

DISPLAY SETTING

CAMERA SETTING

WB SETTING

EXPOSURE SETTING

DAY/NIGHT SETTING

FOCUS SETUP

ZOOM SPEED

APERTURE               : 8

APERTURE CNT       : 9

NEXT PAGE

BACK           EXIT

FUNCTION SETTING

PRESET

AUTO PAN

AUTO SCAN

AUTO TOUR

AUTO PATTERN

IDLE MOTION

TIME TASK

NEXT PAGE

BACK           EXIT

HEATER CONTROL

PTZ  CORRECTION    ：OFF

BACK              EXIT

PASSWORD   ：　OFF

SETTING         ：

BACK               EXIT

EXIT

ADDR                 ：001-H

BR                   ：9600

PARITY            ：None

VERSION         ：V1.00.0.RHNKDX

DIAGNOSIS END

SYSTEM INFORMATION

DISPLAY SETTING

CAMERA SETTING

FUNCTION SETTING

ALARM SETTING

IR LIGHT SETTUING

EXIT

INITIALIZATION INFORMATION

ADDR INFORMATION

SYSTEM TIME SETTING

SET NORTH

LANGUAGE                    ：ENGLISH

FACTORY DEFAULT

RESTART

BACK                                  EXIT

ADDR      	： 001-H

BR       	              ：9600

PARITY    	：NONE

VERSION  	：V1.00.0.RHNKDX

BACK           EXIT

ADDR TYPE     ：HARD

ADDR-HARD    ：001

ADDR-SOFT     ：001

BACK                 EXIT

FOCUS MODE                                   ： AUTO

FOCUS LIMIT                                     ： 10CM

AF SENSITIVITY                                ： HGIH

IR CORRECTION                               ：OFF

BACK                                          EXIT

PRESET TITLE     ：ON

AZIMUTH DISP     ：ON

TIME DISP            ：OFF

POSITION             ：OFF

ZOOM DISP          ：OFF

INSIDE TEMP       ：℃

TITLE DISP           ：OFF

BACK                      EXIT

WB SETTING

EXPOSURE SETTING

DAY/NIGHT SETTING

FOCUS SETTING

ZOOM SPEED                   ：8

APERTURE                       ：9

APERTURE RESTRAIN    ：10

NEXT PAGE

BACK                                  EXIT

WB MODE    ： AUTO

R GAIN         ： 210

B GAIN         ： 150

BACK             EXIT

AGC GAIN LIMIT                    ：2

HIGH GAIN                             ：OFF

SLOW SHUTTER LIMIT         ：1/25

NOISE REDUCTION              ：3

3D NOISE REDUCTION         ：OFF

BLC                                         ：OFF

WDR

AE RECOVERY                      ：15MIN

BACK                                      EXIT

AE MODE                       ：AUTO

GAIN SETTING              ： 2

SHUTTER                       ：1/50

IRIS SETTING                ：4

EXPOSURE COMP        ：8

SLOW AE                       ：1

SLOW SHUTTER           ：ON

NEXT PAGE

BACK                              EXIT

DAY/NIGHT                            ：AUTO

DAY TIME                               ：07H 00M

NIGHT TIME                           ：19H 00M

THRESHOLD                          ： 4

SAVE

BACK                                        EXIT

NO               TIME                ACTION

ALL  00：00－00：00   SC001     OFF

ALL  00：00－00：00   SC001     OFF

ALL  00：00－00：00   SC001     OFF

ALL  00：00－00：00   SC001     OFF

ALL  00：00－00：00   SC001     OFF

ALL  00：00－00：00   SC001     OFF

ALL  00：00－00：00   SC001     OFF

8    全星期   00：00－00：00   线扫1     关

PRESET

AUTO PAN

AUTO SCAN

AUTO TOUR

AUTO PATTERN

IDLE MOTION

TIME TASK

NEXT PAGE

BACK                       EXIT

PRESET NO ：001

TITLE            ：PRESET1

SETTING

CALL

BACK              EXIT

PAN SPEED    ：5

CALL

STOP

BACK               EXIT

AUTO SCAN NO                 ： 001

SET LEFT LIMIT

SET RIGHT LIMIT

SCAN SPEED                      ：5

CALL

STOP

BACK                        EXIT

TOUR   NO：       ： 1

TOUR SETTING

DELETE TOUR

CALL

STOP

BACK                     EXIT

NO    PRESET   DWELL       SPEED

01       000           005                013

02       000           005                013

03       000           005                013

…       …            …                 …

32       000           005                013

BACK       EXIT

PATTERN NO            ： 1

PROGRAM START

PROGRAM STOP

CALL

STOP

BACK                          EXIT

IDLE MOTION	：OFF

IDLE TIME     	：10MIN

IDLE MOTION  	：NONE

PARAMETER        ：NONE

BACK                     EXIT

ALARM SETTING

ALARM NO                   	：1

ACTION                	：NONE

PARAMETER                     ：NONE

CONTACT    	               ：N/O

RELAY OUT   	               ：OFF

RESET DELAY                   ：3S

SAVE

BACK                          EXIT

ALARM NO          : 01

ACTION               : NONE

PARAMETER      : N/O

CONTACT           : NONE

RELAY OUT        : OFF

RESET DELAY    : 3S

SAVE

BACK             EXIT

PASSWORD：

- 2   3   4   5

- 7   8   9   0

→    SAVE    BACK

PRIVACY      NO                   ： 1

PRIVACY MASKING             ：OFF

SETTING

BACK                        EXIT

POWER UP     	          ：AUTO

PARAMTER        	          ：OFF

BACK                      EXIT

PRIVACY MASK

PTZ SPEED 	     ：2

SET ZERO

POWER UP

MENU PASSWORD

MENU IDLE              ：1M

PTZ AUTO STOP     ：15S

NEXT PAGE

SAVE

BACK             EXIT

IR LIGHT SETTING

IR SENSITIVITY    : 4

IRLIGHT CTRL      : ZOOM PRI

NEAR LIGHT          : 50

FAR LIGHT            : 50

IRLIGHT COMP      : 3

BACK                   EXIT

DIGITAL ZOOM                        ：OFF

DIGITAL ZOOM LIMIT              ：X1.5

PICTURE FLIP                          ：OFF

FREEZE    FUNC                      ：OFF

IMAGE STABILIZATION       ：OFF

CAMERA FACTORY DEFAUTL

CAMERA RESTART

BACK                                  EXIT

Open dial switch cover

Address Setup

Parity/Baud Rate

Setup

RESIZE                 ：↑

SAVE

BACK                EXIT

TASK NO      	          ：1

TIME TASK      	          ：OFF

TASK SETTING

TASK INFORMATION

DELETE TASK

BACK                              EXIT

WEEK      	          ：1

START TIME       	          ：OFF

END TIME

RUN ACTION

PRESET NO

SAVE

BACK                               EXIT

HEATER CONTROL　              ：AUTO

OPEN TEMPERATURE            ：03

COLSE TEMPERATURE          ： 12

BACK                       EXIT

IR SENSITIVITY:                    ：04

IRLIGHT CTRL                       ：ZOOM PRI

NEAR LIGHT                          ：50

FAR LIGHT                             ：50

IRLIGHT COMP                      ：03

BACK                        EXIT

YEAR       : 2013

MONTH    : 07

DATE       : 20

WEEK       : FRIDAY

HOUR       : 13

MINU：     : 52

SAVE

BACK      EXIT